HSNO Exempt Laboratories Facilities Audit Tool

| Departmental Laboratory Manager |  | Department: |  |
| --- | --- | --- | --- |
| Laboratory Supervisor |  | Laboratory Location: |  |
| Date: | Inspected by: |
| Summary of Inspection Outcome: RED YELLOW |
| Outcome of Follow-up Inspection (if required): |  |
| This laboratory meets requirements for the University of Otago HSNO Exempt Laboratory Status. | Yes |  | No |  |
| Signatures: University Laboratory Manager: | Departmental Laboratory Manager |

| HSNO Management Requirements | Yes | No | Comments |
| --- | --- | --- | --- |
| 1 | DLM appointed and trained? |  |  |  |
| 2 | LS appointed and trained? |  |  |  |
| 3 | AU trained and recorded? |  |  |  |
| 4 | SMOU’s available in laboratory? |  |  |  |
| 5 | SDS’s for category A, B and 6.1C Substances? |  |  |  |
| 6 | Project approval checklists completed? |  |  |  |
| 7 | Inventory available and maintained? |  |  |  |
| 8 | Tracked substances labelled and tracked? |  |  |  |
| 9 | Emergency Plans documented and available? |  |  |  |
| Laboratory Facilities | Yes | No | Comments |
| 1 | Bench top surfaces impervious |  |  |  |
| 2 | Laboratory furniture – ergonomic and impervious |  |  |  |
| 3 | HSNO University Standard exempt laboratory signage on door & Contact Names current |  |  |  |
| 4 | HSNO facility or Door to laboratory lockable |  |  |  |
| 5 | Walls smooth, easy to clean, impermeable to liquids |  |  |  |
| 6 | Ceilings easy to clean and impermeable to liquids |  |  |  |
| 7 | Floors non-slip, smooth, easy to clean, impervious? |  |  |  |
| 8 | University hands free hand wash basin at laboratory exit |  |  |  |
| 9 | Emergency drench showers provided (based on risk assessment) |  |  |  |
| 10 | Emergency eye-wash stations provided and tested, clean |  |  |  |
| 11 | Fume cupboard – current certification |  |  |  |
| 12 | Hooks for laboratory coats provided adjacent to exit door |  |  |  |
| 13 | Protective covers provided for keyboards on workbenches |  |  |  |
| General Housekeeping | Yes | No | Comments |
| 1 | Open spaces under benches, etc accessible for cleaning |  |  |  |
| 2 | Are materials and equipment cleaned when not in use |  |  |  |
| 3 | Have dangerous and sharp objects been removed |  |  |  |
| 4 | Are benches free of clutter including hoses and leads |  |  |  |
| 5 | Are benches and floors clean, free of oil, water, chemicals and powder |  |  |  |
| Hazardous Substance Storage | Yes | No | Comments |
| 1 | Are incompatible classes segregated? |  |  |  |
| 2 | Are substances HSNO labelled |  |  |  |
| 3 | All category A substances stored on shelves 1 litre or less? |  |  |  |
| 4 | All other categories stored on shelves 2.5 litres or less? |  |  |  |
| 5 | Are all chemical stocks kept to a minimum? |  |  |  |
| 6 | Are Flammable cabinets suitable? |  |  |  |
| 7 | Are all containers in storage cabinets less than 20L in size? |  |  |  |
| 8 | No more than 100 L flammable liquid in cabinet ? |  |  |  |
| 9 | Flammable liquid storage away from exits, heat and ignition sources? |  |  |  |
| 10 | Are refrigerators storing flammables spark proof? |  |  |  |
| 11 | For shelves over 1.5m high are all glass containers less than 1kg or 1L? |  |  |  |
| 12 | Are secondary or working containers labelled? |  |  |  |
| 13 | Are class 6.1.A & B substances secured? |  |  |  |
| 14 | Do corrosive substances have secondary containment? |  |  |  |
| 15 | Do shelves had earthquake restraints in place? |  |  |  |
| 16 | Are G size gas cylinders double chained? |  |  |  |
| 17 | Containers and packages in good repair? |  |  |  |
| 18 | Flammable gases fitted with flash back arrestors? |  |  |  |
| 19 | Hazardous waste stored by class & in appropriate place? |  |  |  |
| 20 | Waste collection/disposal system in place? |  |  |  |
| Emergency Preparedness | Yes | No | Comments |
| 1 | Spill kit and procedures available? |  |  |  |
| 2 | Emergency plans available/emergency info displayed? |  |  |  |
| 3 | Trial within last 12 months? |  |  |  |
| 4 | SDS/SMOU available within 5 minutes? |  |  |  |
| 5 | High hazard substances identified in the plan? |  |  |  |
| 6 | Fire extinguishers available, current and close to work areas? |  |  |  |
| 7 | Fire blankets available? |  |  |  |
| 8 | First aider and kit location known? |  |  |  |
| 9 | Isolating switches for gas/electricity? |  |  |  |
| Personal Protective Equipment | Yes | No | Comments |
| 1 | PPE specified in SMOU’s available? |  |  |  |
| 2 | Lab coats, glasses and closed shoes observed? |  |  |  |
| 3 | Eye wash/shower tested and clean? |  |  |  |
| 4 | Project approvals includes restrictions on work after hours? |  |  |  |

Laboratory Facilities Audit Checklist

Statutory Budget

| Building: |  | Laboratory No.: |  |
| --- | --- | --- | --- |
| Dept Lab Mger: |  | Inspection Person(s): |  |
| Date of Inspection: |  |  |
| PLEASE CIRCLE/TICK RELEVANT LABORATORY TYPE |
| Laboratory Facilities | Yes | No | Comments/ Property Services Request number |
| SECTION 1 – PC1 |  |  |  |
| 1 | Bench top surfaces |  |  |  |
|  | (i) | impervious to moisture |  |  |  |
|  | (ii) | resistant to solvents |  |  |  |
|  | (iii) | able to withstand heat |  |  |  |
| 2 | Laboratory furniture |  |  |  |
|  | (i) | ergonomically suitable |  |  |  |
|  | (ii) | smooth impervious material |  |  |  |
| 3 | Washbasins with hot and cold water provided |  |  |  |
| 4 | Chemical Storage : |  |  |  |
|  | Flammable cabinet (high priority) |  |  |  |
|  | Corrosive cabinet (high priority) |  |  |  |
|  | Toxic cabinet |  |  |  |
|  | Oxidising cabinet |  |  |  |
| 5 | Earthquake restraints |  |  |  |
| 6 | Door/access lockable |  |  |  |
| 7 | Internal fittings (lights, ducts) arranged to minimise horizontal dust-collecting surfaces |  |  |  |
| 8 | Spill kit |  |  |  |
| 9 | First Aid Kit & emergency plans |  |  |  |

| Laboratory Facilities | Yes | No | Comments/ Property Services Request Number |
| --- | --- | --- | --- |
| SECTION 2 – PC2 Laboratories |  |  |  |
| 10 | Signage on laboratory entrance standard University sign |  |  |  |  |
| 11 | Walls smooth, easy to clean, impermeable to liquids |  |  |  |
| 12 | Ceilings easy to clean, impermeable to liquids |  |  |  |
| 13 | Floors non-slip, smooth, easy to clean, impermeable to liquids |  |  |  |
| 14 | Basin mixer for hand-washing, foot-, elbow- or electronically operated |  |  |  |
| 15 | Emergency drench showers provided |  |  | Risk assessment |
| 16 | Emergency eye-wash stations provided |  |  |  |
| 17 | Laboratory is mechanically ventilated |  |  |  |
|  | (i) | If yes, directional air-flow into laboratory maintained |  |  |  |
|  | (ii) | Recirculation into area outside PC2 facility does not occur |  |  |  |
| 18 | Hooks for laboratory coats provided adjacent to laboratory access door |  |  |  |
| 19 | Fume cupboard – current certification |  |  |  |
| 20 | Separate write up areas |  |  |  |
| Property Services Request Number: |  |
| All to complete: |  |  |  |  |
| This laboratory is part of a registered containment facility under the Biosecurity Act | Yes |  | No |  |
| This laboratory meets requirements for the following category. | PC1 |  | PC2 |  |
| This laboratory meets requirements for the HSNO exempt laboratory status. | Yes |  | No |  |
| Signature of Auditor(s) | Date: |

# Text boxes

Radiation lab

Clinical lab

Animal area

HSNO Exempt

PC3

PC2

PC1